Electronics Instrumentation: Multiple Choice Questions

1. Which of the following is used to measure electrical resistance?

A. Voltmeter
B. Ammeter
C. Ohmmeter
D. Wattmeter
Answer: C

2. What is the primary function of a transducer?

A. Store electrical energy
B. Convert one form of energy into another
C. Amplify electrical signals
D. Measure electrical power
Answer: B

3. The device used to measure very small currents is known as:

A. Ammeter
B. Voltmeter
C. Galvanometer
D. Multimeter
Answer: C

4. In a digital multimeter, which parameter is not usually measured?

A. Capacitance
B. Resistance
C. Voltage
D. Torque
Answer: D

5. Which instrument is used to display waveforms?

A. Oscilloscope
B. Frequency counter
C. Spectrum analyzer
D. Function generator
Answer: A

6. The Wheatstone bridge is primarily used to measure:

A. Inductance
B. Resistance
C. Capacitance
D. Voltage
Answer: B

7. The term "accuracy" in instrumentation refers to:

A. The smallest measurable change
B. The degree of closeness to the true value
C. The repeatability of measurements
D. The response time of the instrument
Answer: B

8. What does a thermocouple measure?

A. Pressure
B. Temperature
C. Humidity
D. Voltage
Answer: B

9. Which of the following sensors is used for detecting light?

A. Thermistor
B. Photodiode
C. Strain gauge
D. LVDT
Answer: B

10. What is the full form of LVDT?

A. Linear Variable Differential Transformer
B. Low Voltage Differential Transistor
C. Linear Voltage Direct Transmitter
D. Low Voltage Digital Transducer
Answer: A

11. A strain gauge is used to measure:

A. Voltage
B. Strain
C. Pressure
D. Displacement
Answer: B

12. In an oscilloscope, the vertical axis typically represents:

A. Time
B. Voltage
C. Frequency
D. Current
Answer: B

13. The term "span" in instrumentation refers to:

A. The range between minimum and maximum values
B. The sensitivity of the instrument
C. The zero offset
D. The calibration factor
Answer: A

14. Which of the following is a passive transducer?

A. Thermocouple
B. Strain gauge
C. Piezoelectric sensor
D. Photovoltaic cell
Answer: B

15. Which type of filter is used to block high frequencies while allowing low frequencies?

A. Low-pass filter
B. High-pass filter
C. Band-pass filter
D. Notch filter
Answer: A

16. A tachometer is used to measure:

A. Voltage
B. Rotational speed
C. Pressure
D. Frequency
Answer: B

17. In a PID controller, "P" stands for:

A. Proportional
B. Periodic
C. Predictive
D. Passive
Answer: A

18. The unit of inductance is:

A. Farad
B. Ohm
C. Henry
D. Weber
Answer: C

19. The main purpose of a signal conditioner is to:

A. Generate signals
B. Enhance signal amplitude
C. Convert signals into a readable format
D. Suppress noise
Answer: C

20. The Nyquist theorem is related to:

A. Signal amplification
B. Sampling of signals
C. Frequency modulation
D. Noise reduction
Answer: B

21. Which type of transducer is used for pressure measurement?

A. Thermocouple
B. Strain gauge
C. Piezoelectric transducer
D. LVDT
Answer: C

22. What is the purpose of a demodulator?

A. Amplify signals
B. Filter unwanted noise
C. Extract information from modulated signals
D. Measure signal power
Answer: C

23. The unit of capacitance is:

A. Henry
B. Farad
C. Ohm
D. Joule
Answer: B

24. What does a pyrometer measure?

A. Electrical resistance
B. Rotational speed
C. High temperatures
D. Light intensity
Answer: C

25. An RTD (Resistance Temperature Detector) works on the principle of:

A. Change in voltage with temperature
B. Change in resistance with temperature
C. Thermal expansion
D. Emission of light
Answer: B

26. Which of the following is a dynamic characteristic of an instrument?

A. Accuracy
B. Linearity
C. Response time
D. Resolution
Answer: C

27. What is the function of a spectrum analyzer?

A. Measure voltage levels
B. Analyze the frequency spectrum of signals
C. Generate sine waves
D. Filter noise from signals
Answer: B

28. A capacitive transducer is used for measuring:

A. Displacement
B. Temperature
C. Voltage
D. Current
Answer: A

29. What type of signal does an accelerometer measure?

A. Velocity
B. Acceleration
C. Displacement
D. Strain
Answer: B

30. In signal conditioning, an operational amplifier is commonly used for:

A. Signal generation
B. Signal amplification
C. Signal attenuation
D. Signal modulation
Answer: B

31. Which of the following is used to measure humidity?

A. Hygrometer
B. Barometer
C. Pyrometer
D. Tachometer
Answer: A

32. The main advantage of a digital instrument over an analog one is:

A. Cost-effectiveness
B. Higher precision and accuracy
C. Simplicity of construction
D. Wide measurement range
Answer: B

33. What does the term "hysteresis" mean in instrumentation?

A. Deviation between input and output
B. Lag in output when input changes direction
C. Nonlinearity in measurement
D. Noise in signal
Answer: B

34. A Hall effect sensor is used to measure:

A. Temperature
B. Magnetic field strength
C. Pressure
D. Light intensity
Answer: B

35. What does the term "resolution" refer to in instrumentation?

A. The smallest measurable change in input
B. The total measurement range
C. The repeatability of the instrument
D. The speed of response
Answer: A

36. A differential amplifier is used for:

A. Amplifying voltage signals
B. Attenuating signals
C. Amplifying the difference between two input signals
D. Generating oscillations
Answer: C

37. Which type of sensor uses the piezoelectric effect?

A. Thermocouple
B. Strain gauge
C. Vibration sensor
D. Hygrometer
Answer: C

38. The primary function of a function generator is:

A. Signal amplification
B. Signal generation
C. Signal modulation
D. Noise filtering
Answer: B

39. What is the unit of frequency?

A. Joule

Electronics Instrumentation: Multiple Choice Questions

Electronics Instrumentation: Multiple Choice Questions

40. Which of the following is a type of thermistor?

A. NTC (Negative Temperature Coefficient)
B. PTC (Positive Temperature Coefficient)
C. Both A and B
D. None of the above
Answer: C

41. A potentiometer measures:

A. Voltage
B. Current
C. Resistance
D. Power
Answer: A

42. The purpose of a lock-in amplifier is to:

A. Amplify DC signals
B. Detect and measure small AC signals in the presence of noise
C. Generate high-frequency signals
D. Filter out DC components
Answer: B

43. A pyroelectric sensor is primarily used to measure:

A. Thermal radiation
B. Electrical resistance
C. Rotational speed
D. Magnetic flux
Answer: A

44. A bridge circuit is commonly used for:

A. Current measurement
B. Signal amplification
C. Precise measurement of resistance, inductance, and capacitance
D. Voltage stabilization
Answer: C

45. Which component is used in a circuit to maintain a constant voltage?

A. Diode
B. Zener diode
C. Transistor
D. Capacitor
Answer: B

46. The bandwidth of a signal is defined as:

A. The total range of frequencies present
B. The maximum frequency
C. The frequency of the signal's fundamental component
D. The speed of data transmission
Answer: A

47. An instrumentation amplifier is characterized by:

A. High output impedance
B. High input impedance and high gain accuracy
C. Low gain accuracy
D. High power consumption
Answer: B

48. Which of the following is used to measure liquid flow?

A. Orifice plate
B. Venturi meter
C. Turbine flow meter
D. All of the above
Answer: D

49. The time constant of an RC circuit is given by:

A. R + C
B. 1 / (R × C)
C. R × C
D. R / C
Answer: C

50. A signal with a low signal-to-noise ratio (SNR) is:

A. High quality
B. Low quality
C. Noise-free
D. Amplified
Answer: B

51. Which of the following devices is used to measure  vibration?

A. Accelerometer
B. Tachometer
C. Hygrometer
D. Galvanometer
Answer: A

52. A Bode plot is used to represent:

A. Time-domain signals
B. Frequency response of a system
C. Noise levels in a circuit
D. Voltage-current characteristics
Answer: B

53. The function of a low-pass filter is to:

A. Allow high frequencies to pass
B. Block high frequencies and allow low frequencies to pass
C. Allow all frequencies to pass
D. Block low frequencies
Answer: B

54. What type of sensor is used in a smoke detector?

A. Infrared sensor
B. Ionization sensor
C. Piezoelectric sensor
D. Strain gauge
Answer: B

55. The slew rate of an operational amplifier indicates:

A. The maximum output voltage
B. The rate of change of output voltage per unit time
C. The input resistance
D. The frequency response
Answer: B

56. Which of the following is not a primary sensor?

A. Thermistor
B. LVDT
C. Oscilloscope
D. Strain gauge
Answer: C

57. The principle of an ultrasonic sensor is based on:

A. Electromagnetic induction
B. Reflection of sound waves
C. Piezoelectric effect
D. Change in resistance
Answer: B

58. What is the main purpose of a bridge rectifier?

A. Convert AC to DC
B. Amplify AC signals
C. Filter AC signals
D. Measure power
Answer: A

59. The term "dead zone" in an instrument refers to:

A. The time taken to respond
B. The range of input where no output change is observed
C. The maximum range of measurement
D. The calibration error
Answer: B

60. Which of the following can measure angular displacement?

A. Synchro
B. Potentiometer
C. Optical encoder
D. All of the above
Answer: D

61. Which transducer works based on the Hall effect?

A. Capacitive transducer
B. Magnetic field sensor
C. Piezoelectric sensor
D. Strain gauge
Answer: B

62. What is the primary use of a signal generator?

A. Analyze frequency spectra
B. Generate test signals
C. Amplify weak signals
D. Measure voltage levels
Answer: B

63. The purpose of a notch filter is to:

A. Allow all frequencies to pass
B. Block a specific frequency range
C. Amplify signals
D. Reduce signal distortion
Answer: B

64. The term "sensitivity" in sensors refers to:

A. The ability to measure large inputs
B. The ratio of output to input
C. The maximum range of the sensor
D. The power consumption
Answer: B

65. In a strain gauge, what parameter changes due to applied force?

A. Capacitance
B. Inductance
C. Resistance
D. Voltage
Answer: C

66. Which of the following devices measures sound intensity?

A. Microphone
B. Hygrometer
C. Barometer
D. Accelerometer
Answer: A

67. The primary function of a data acquisition system (DAS) is to:

A. Amplify signals
B. Convert analog signals to digital
C. Generate electrical signals
D. Control temperature
Answer: B

68. An LVDT is commonly used to measure:

A. Voltage
B. Displacement
C. Current
D. Temperature
Answer: B

69. Which instrument is used for frequency measurement?

A. Voltmeter
B. Oscilloscope
C. Frequency counter
D. Spectrum analyzer
Answer: C

70. What does a photodiode measure?

A. Voltage
B. Light intensity
C. Current
D. Temperature
Answer: B

Electronics Instrumentation: Multiple Choice Questions

71. A Wheatstone bridge is primarily used to measure:

A. Voltage

B. Resistance

C. Current

D. Inductance

Answer: B

72. What is the function of a thermocouple?

A. Measure resistance

B. Measure temperature

C. Measure pressure

D. Measure flow rate

Answer: B

73. The main advantage of a digital instrument over an analog instrument is:

A. Higher accuracy

B. Lower cost

C. Simpler design

D. Better durability

Answer: A

74. A piezoelectric sensor works based on:

A. Thermal expansion

B. Electric potential difference

C. Mechanical stress generating electrical charge

D. Magnetic flux changes

Answer: C

75. The term "resolution" in instrumentation refers to:

A. The smallest change in input that can be detected

B. The range of the instrument

C. The maximum input that can be measured

D. The speed of response

Answer: A

76. What is the main function of an operational amplifier in a measurement system?

A. Signal amplification

B. Noise suppression

C. Signal filtering

D. Power supply regulation

Answer: A

77. Which device is used to measure very high resistances?

A. Galvanometer B. Megger C. Multimeter D. Oscilloscope Answer: B

78. An RTD is used to measure:

A. Displacement B. Pressure C. Temperature D. Light intensity Answer: C

79. What does the term "hysteresis" in a sensor mean?

A. Delay in response time B. Difference in output for increasing and decreasing input C. Nonlinear behavior at extreme ranges D. Saturation at high inputs Answer: B

80. The main principle of an optical encoder is:

A. Magnetic flux changes B. Variation in resistance C. Light interruption and detection D. Induction of voltage Answer: C

81. Which of the following is used to measure pressure?

A. Thermocouple B. Bourdon tube C. Photodiode D. LVDT Answer: B

82. In a capacitance level sensor, the level is measured by:

A. Change in capacitance B. Change in resistance C. Change in voltage D. Change in inductance Answer: A

83. The Nyquist criterion is related to:

A. Stability of control systems B. Sampling rate of signals C. Frequency response analysis D. Noise reduction in signals Answer: B

84. A tachometer is used to measure:

A. Pressure B. Temperature C. Rotational speed D. Voltage Answer: C

85. The output of a DAC (Digital-to-Analog Converter) is:

A. Digital signal B. Analog signal C. Binary code D. Pulse signal Answer: B

86. Which of the following sensors uses the Hall effect?

A. Magnetic field sensor B. Temperature sensor C. Vibration sensor D. Light sensor Answer: A

87. A galvanometer is used to measure:

A. Current B. Voltage C. Power D. Resistance Answer: A

88. The term "linearity" in an instrument refers to:

A. Accuracy of the measurement B. Direct proportionality of input to output C. Sensitivity to small changes D. Range of the instrument Answer: B

89. What is the purpose of a spectrum analyzer?

A. Measure signal amplitude B. Analyze frequency components of a signal C. Filter noise from signals D. Convert analog signals to digital Answer: B

90. Which of the following is a dynamic characteristic of an instrument?

A. Sensitivity B. Accuracy C. Response time D. Resolution Answer: C

91. An oscilloscope is used to measure:

A. Frequency and amplitude of signals B. Resistance and capacitance C. Voltage and current D. Magnetic flux Answer: A

92. The signal conditioning process includes:

A. Amplification and filtering B. Voltage conversion C. Data transmission D. Sampling and holding Answer: A

93. The purpose of a differentiator circuit is to:

A. Add two signals B. Amplify signals C. Produce an output proportional to the rate of change of input D. Reduce signal distortion Answer: C

94. What type of filter allows frequencies below a cutoff frequency to pass?

A. Low-pass filter B. High-pass filter C. Band-pass filter D. Band-stop filter Answer: A

95. The term "drift" in instrumentation refers to:

A. Sensitivity to changes in input B. Gradual change in output without changes in input C. Accuracy of the measurement D. Speed of response Answer: B

96. Which of the following is used to measure humidity?

A. Hygrometer B. Tachometer C. Barometer D. Oscilloscope Answer: A

97. A signal-to-noise ratio (SNR) of 20 dB indicates:

A. High noise levels B. Equal signal and noise power C. Signal power is 100 times noise power D. Signal power is 10 times noise power Answer: D

98. A Schmitt trigger is used for:

A. Noise filtering B. Converting analog signals to digital pulses C. Signal amplification D. Voltage regulation Answer: B

99. The primary function of a transducer is to:

A. Generate electrical signals B. Convert one form of energy into another C. Measure temperature D. Control system behavior Answer: B

100. In a closed-loop control system, feedback is used to:

A. Reduce signal noise B. Ensure system stability and accuracy C. Increase system output D. Decrease input voltage Answer: B

Signal and Signal Chain

- What is a signal?
a) A disturbance in a circuit
b) A method of transmitting information
c) A power source
d) A type of resistor
Answer: b

- What is the main purpose of a signal chain?
a) Powering devices
b) Transmitting and processing signals
c) Storing electrical energy
d) Measuring temperature
Answer: b

- Which component in the signal chain amplifies weak signals?
a) Filter
b) Amplifier
c) Multiplexer
d) Resistor
Answer: b

- What does a filter in a signal chain do?
a) Reduces noise
b) Selects desired frequencies
c) Converts analog signals to digital
d) Increases gain
Answer: b

- What does a signal-to-noise ratio (SNR) indicate?
a) Ratio of power to frequency
b) Ratio of signal strength to noise level
c) Difference between voltage and current
d) Impedance of the signal path
Answer: b

- What is the unit of signal bandwidth?
a) Hertz (Hz)
b) Volts (V)
c) Amperes (A)
d) Ohms (Ω)
Answer: a

- Which device is used to switch multiple signals in a signal chain?
a) Multiplexer
b) Oscilloscope
c) Modulator
d) Transformer
Answer: a

- Distortion in a signal chain is caused by:
a) High bandwidth
b) Nonlinear components
c) Ideal signal path
d) Low-frequency signals
Answer: b

- In a signal chain, impedance matching is required to:
a) Reduce voltage
b) Increase power
c) Prevent signal reflection
d) Convert AC to DC
Answer: c

- What type of filter removes high-frequency noise?
a) High-pass filter
b) Band-pass filter
c) Low-pass filter
d) Band-stop filter
Answer: c

Electrical Signals (Currents, Voltages, Resistances) and Measurements

- Which law relates voltage, current, and resistance?
a) Kirchhoff’s Law
b) Ohm’s Law
c) Faraday’s Law
d) Coulomb’s Law
Answer: b

- Voltage is measured in:
a) Amperes
b) Hertz
c) Volts
d) Watts
Answer: c

- What instrument measures current in a circuit?
a) Voltmeter
b) Ammeter
c) Oscilloscope
d) Thermometer
Answer: b

- AC signals are characterized by:
a) Constant voltage
b) Constant current
c) Periodic waveform
d) No polarity
Answer: c

- What is RMS value used for?
a) Measuring resistance
b) Measuring average power
c) Measuring peak voltage
d) Measuring signal distortion
Answer: b

- Which device is used for observing time-varying signals?
a) Oscilloscope
b) Multimeter
c) Transformer
d) Filter
Answer: a

- Which unit is used to express resistance?
a) Volts
b) Amperes
c) Ohms
d) Farads
Answer: c

- The unit of electrical current is:
a) Coulombs
b) Amperes
c) Watts
d) Henrys
Answer: b

- What is the typical output signal of a thermocouple?
a) Voltage
b) Current
c) Resistance
d) Capacitance
Answer: a

- What is the function of a Wheatstone bridge?
a) Measuring frequency
b) Measuring resistance
c) Measuring capacitance
d) Measuring inductance
Answer: b

Application of Signal Conditioning

- Signal conditioning is primarily used to:
a) Convert AC to DC
b) Enhance the quality of signals
c) Increase battery life
d) Store electrical energy
Answer: b

- Which of the following is a signal conditioning technique?
a) Amplification
b) Digital conversion
c) Isolation
d) All of the above
Answer: d

- Which component is used for signal amplification?
a) Diode
b) Op-Amp
c) Resistor
d) Capacitor
Answer: b

- Isolation in signal conditioning prevents:
a) Signal attenuation
b) Electrical interference
c) Overheating
d) Signal clipping
Answer: b

- The role of a filter in signal conditioning is to:
a) Remove unwanted frequency components
b) Amplify signals
c) Measure voltage
d) Reduce power consumption
Answer: a

Analog/Digital Conversion

- What does an Analog-to-Digital Converter (ADC) do?
a) Converts digital signals to analog
b) Converts analog signals to digital
c) Measures current
d) Stores data
Answer: b

- Which parameter defines ADC resolution?
a) Sampling rate
b) Number of bits
c) Frequency
d) Bandwidth
Answer: b

- What is the typical output of an ADC?
a) Current signal
b) Digital code
c) Sine wave
d) AC signal
Answer: b

- Nyquist rate is:
a) Twice the highest frequency of the signal
b) Half the highest frequency of the signal
c) Equal to the signal’s bandwidth
d) Independent of frequency
Answer: a

- What type of ADC uses a successive approximation register?
a) Flash ADC
 b) Delta-sigma ADC
c) SAR ADC
d) Integrating ADC
Answer: c

Isolation and Protection

- Isolation in instrumentation systems is used to:
a) Protect devices from high voltage
b) Reduce signal distortion
c) Improve energy efficiency
d) Lower signal bandwidth
Answer: a

- Optical isolation is achieved using:
a) Transformers
b) Diodes
c) Optocouplers
d) Capacitors
Answer: c

- Overvoltage protection is achieved using:
a) Diodes
b) Resistors
c) Zener diodes
d) Transformers
Answer: c

- Ground loops in circuits are eliminated using:
a) Filters
b) Isolation
c) Amplifiers
d) Resistors
Answer: b

- What is the purpose of a fuse in an instrumentation system?
a) Amplification
b) Protection from overcurrent
c) Voltage stabilization
d) Frequency measurement
Answer: b

Signal and Signal Chain (Continued)

- Which of the following is a non-periodic signal?
a) Sine wave
b) Square wave
c) Noise
d) Triangle wave
Answer: c

- What is the function of a modulator in a signal chain?
a) To reduce noise    
b) To combine a signal with a carrier
c) To convert DC to AC
d) To filter high-frequency components
Answer: b

- Which of the following components is used for impedance matching?
a) Transformer
b) Resistor
c) Diode
d) Inductor
Answer: a

- What is the primary role of an attenuator in a signal chain?
a) Amplify signals
b) Reduce signal strength
c) Convert analog to digital
d) Measure frequency
Answer: b

- What is phase distortion in a signal chain?
a) Unwanted changes in frequency
b) Variation in the phase relationship of signals
c) Reduction in amplitude
d) Signal attenuation due to impedance
Answer: b

- What does a phase-locked loop (PLL) do in a signal chain?
a) Amplifies signals
b) Synchronizes signal frequencies
c) Converts analog to digital
d) Filters unwanted frequencies
Answer: b

- A signal generator is used for:
a) Measuring resistance
b) Generating test signals
c) Converting signals
d) Isolating circuits
Answer: b

- Which of the following parameters affects signal propagation delay?
a) Impedance
b) Capacitance
c) Resistance
d) All of the above
Answer: d

- What type of noise originates from thermal agitation of electrons?
a) White noise
b) Thermal noise
c) Flicker noise
d) Impulse noise
Answer: b

- What happens to the signal-to-noise ratio when the bandwidth increases?
a) Increases
b) Decreases
c) Remains constant
d) Depends on signal type
Answer: b

Electrical Signals (Currents, Voltages, Resistances) and Measurements (Continued)

- The SI unit of capacitance is:
a) Henry
b) Farad
c) Ohm
d) Coulomb
Answer: b

- What is the primary use of a current transformer?
a) Voltage amplification
b) Current measurement
c) Signal filtering
d) Impedance matching
Answer: b

- Which type of multimeter provides the most accurate readings?
a) Analog multimeter
b) Digital multimeter
c) Handheld multimeter
d) Clamp meter
Answer: b

- What is the typical frequency of household AC power supply?
a) 50 Hz
b) 100 Hz
c) 500 Hz
d) 1000 Hz
Answer: a

- Which component is used to measure very small resistance values?
a) Ohmmeter
b) Kelvin bridge
c) Ammeter
d) Potentiometer
Answer: b

- Which device is used to measure power in a circuit?
a) Voltmeter
b) Ammeter
c) Wattmeter
d) Thermistor
Answer: c

- What happens when resistance increases in a circuit?
a) Current decreases
b) Voltage decreases
c) Power increases
d) Frequency increases
Answer: a

- What is the use of a potentiometer?
a) Voltage divider
b) Frequency measurement
c) Current amplification
d) Signal isolation
Answer: a

- What type of resistance does a thermistor exhibit?
a) Fixed resistance
b) Temperature-dependent resistance
c) Variable inductance
d) Frequency-dependent resistance
Answer: b

- Which parameter is measured using a Lissajous pattern on an oscilloscope?
a) Frequency
b) Phase difference
c) Amplitude
d) Time constant
Answer: b

Application of Signal Conditioning (Continued)

- What is the purpose of a signal conditioner in instrumentation?
a) Enhance sensor signal for processing
b) Measure temperature
c) Reduce bandwidth
d) Store energy
Answer: a

- Which component is used for signal isolation in signal conditioning?
a) Transformer
b) Optocoupler
c) Both a and b
d) Resistor
Answer: c

- What type of filter removes frequencies above a certain cutoff?
a) Low-pass filter
b) High-pass filter
c) Band-pass filter
d) Band-stop filter
Answer: a

- Gain in an amplifier is defined as:
a) Output voltage divided by input voltage
b) Output current divided by input resistance
c) Power divided by frequency
d) Resistance divided by capacitance
Answer: a

- Which of the following is not a signal conditioning component?
a) Filter
b) Amplifier
c) ADC
d) Motor
Answer: d

Analog/Digital Conversion (Continued)

- What is the purpose of a Digital-to-Analog Converter (DAC)?
a) Store digital signals
b) Convert digital signals to analog
c) Amplify analog signals
d) Filter unwanted noise
Answer: b

- Which parameter of an ADC affects the accuracy of digital representation?
a) Bandwidth
b) Resolution
c) Frequency
d) Power rating
Answer: b

- What is a typical application of ADC in instrumentation?
a) Temperature measurement
b) Signal processing
c) Voltage monitoring
d) All of the above
Answer: d

- Which type of ADC is the fastest?
a) Flash ADC
b) SAR ADC
c) Delta-Sigma ADC
d) Dual-Slope ADC
Answer: a

- The process of converting discrete digital signals to a continuous signal is called:
a) Sampling
b) Quantization
c) Reconstruction
d) Filtering
Answer: c

- The process of converting a continuous signal to discrete digital signals is called:
a) Quantization
b) Sampling
c) Modulation
d) Demodulation
Answer: b

### Questions Related to Quantization

- What is quantization in signal processing?
a) Converting a continuous signal into a discrete-time signal
b) Mapping a continuous range of amplitudes to discrete levels
c) Sampling a signal at regular intervals
d) Removing noise from a signal
Answer: b

- Quantization error is defined as:
a) The difference between the original analog signal and the sampled signal
b) The difference between the original analog signal and the quantized signal
c) The deviation caused by noise in the system
d) The difference between the sampling frequency and the Nyquist rate
Answer: b

- Which of the following helps reduce quantization error?
a) Increasing the sampling rate
b) Decreasing the resolution of the ADC
c) Increasing the number of quantization levels
d) Using a low-pass filter
Answer: c

- In an n-bit quantizer, the number of quantization levels is given by:
a) 2^n - 1
b) n^2
c) 2^n
d) n!
Answer: c

- What is the relationship between quantization noise and the resolution of an ADC?
a) Quantization noise increases with higher resolution
b) Quantization noise decreases with higher resolution
c) Quantization noise remains constant regardless of resolution
d) Quantization noise is independent of resolution
Answer: b

Isolation and Protection (Continued)

- Which of the following devices is used for surge protection?
a) Optocoupler
b) Metal-Oxide Varistor (MOV)
c) Capacitor
d) Oscilloscope
Answer: b

- Electrical isolation prevents:
a) Heat dissipation
b) Ground loops
c) High frequency noise
d) Signal attenuation
Answer: b

- Which type of isolation device is most common in industrial environments?
a) Transformer
b) Capacitor
c) Inductor
d) Resistor
Answer: a

- What is the primary purpose of a transient voltage suppressor?
a) Reduce current spikes
b) Protect against voltage surges
c) Amplify low-frequency signals
d) Filter noise
Answer: b

- Which protection device works on the principle of melting when current exceeds a threshold?
a) Circuit breaker
b) Fuse
c) Resistor
d) Zener diode
Answer: b

Signal and Signal Chain (Continued)

- Which of the following is a characteristic of an ideal signal chain?
a) High signal distortion
b) Low signal-to-noise ratio
c) Minimum loss of signal integrity
d) High impedance mismatch
Answer: c

- What is the purpose of an equalizer in a signal chain?
a) Amplify weak signals
b) Balance signal levels across frequencies
c) Convert digital signals to analog
d) Reduce impedance
Answer: b

- Which of the following is an example of an analog signal?
a) Digital clock output
b) Sine wave
c) Binary data
d) Pulse code modulation
Answer: b

- What is the main function of a signal booster?
a) Reduce signal attenuation over long distances
b) Block unwanted noise
c) Match impedance
d) Reduce bandwidth
Answer: a

- A band-pass filter allows:
a) Only low-frequency signals to pass
b) Only high-frequency signals to pass
c) Signals within a specific frequency range to pass
d) All frequencies to pass
Answer: c

- In a signal chain, gain is often expressed in:
a) Decibels (dB)
b) Hertz (Hz)
c) Volts (V)
d) Amperes (A)
Answer: a

- An active filter differs from a passive filter because:
a) It amplifies signals
b) It only uses resistors and capacitors
c) It blocks DC signals
d) It reduces gain
Answer: a

- A noise figure of a system represents:
a) The level of distortion
b) The amount of signal attenuation
c) The degradation of the signal-to-noise ratio
d) The amplification factor
Answer: c

- A typical use of a phase shifter in a signal chain is to:
a) Delay the signal
b) Change the phase of a signal
c) Reduce signal amplitude
d) Filter unwanted frequencies
Answer: b

- What type of filter is required to block both high and low frequencies but pass a specific range?
a) Low-pass filter
b) High-pass filter
c) Band-stop filter
d) Band-pass filter
Answer: d

Electrical Signals (Currents, Voltages, Resistances) and Measurements (Continued)

- The relationship between power, voltage, and current is given by:
a) P = VI
b) P = V/R
c) P = IR
d) P = V²/R
Answer: a

- What is the typical unit for expressing signal amplitude in AC circuits?
a) Hertz (Hz)
b) Decibels (dB)
c) Volts (V) RMS
d) Ohms (Ω)
Answer: c

- Which device measures electrical resistance without applying power to the circuit?
a) Ohmmeter
b) Megger
c) Multimeter in resistance mode
d) All of the above
Answer: d

- What is the primary use of a shunt resistor in current measurement?
a) Reduce resistance
b) Provide a proportional voltage drop
c) Increase current
d) Block DC signals
Answer: b

- What is the primary disadvantage of an analog voltmeter compared to a digital one?
a) Higher cost
b) Lower accuracy
c) Cannot measure AC signals
d) Requires external power
Answer: b

- What is the maximum range of voltage that a typical oscilloscope can measure?
a) 10 V
b) 100 V
c) 1 kV
d) Depends on the probe and settings
Answer: d

- A thermistor is most commonly used for measuring:
a) Voltage
b) Temperature
c) Current
d) Capacitance
Answer: b

- When using a multimeter, which setting is used to measure DC voltage?
a) AC voltage mode
b) DC voltage mode
c) Resistance mode
d) Current mode
Answer: b

- What is the purpose of a clamp meter?
a) Measure resistance
b) Measure voltage
c) Measure current without breaking the circuit
d) Measure capacitance
Answer: c

- Which material is commonly used for resistance temperature detectors (RTDs)?
a) Copper
b) Platinum
c) Aluminum
d) Silicon
Answer: b

Application of Signal Conditioning (Continued)

- What is the primary benefit of isolation amplifiers in signal conditioning?
a) Signal amplification
b) Elimination of ground loops
c) Frequency enhancement
d) Noise suppression
Answer: b

- In instrumentation systems, linearization is applied to:
a) Adjust nonlinear sensor outputs
b) Amplify weak signals
c) Reduce noise
d) Isolate circuits
Answer: a

- A notch filter is designed to:
a) Amplify specific frequencies
b) Block a specific frequency
c) Remove all low frequencies
d) Increase bandwidth
Answer: b

- What is a common use of an instrumentation amplifier?
a) To amplify small differential signals
b) To convert analog signals to digital
c) To reduce signal noise
d) To protect circuits from overcurrent
Answer: a

- In signal conditioning, calibration is performed to:
a) Match sensor output to known standards
b) Remove noise
c) Reduce power consumption
d) Increase resolution
Answer: a

Analog/Digital Conversion (Continued)

- What is the key drawback of a flash ADC?
a) Slow speed
b) Low resolution
c) High cost and complexity
d) High power consumption
Answer: c

- The term "quantization error" in an ADC refers to:
a) Noise introduced by the circuit
b) The difference between the input signal and the nearest digital representation
c) Loss of data during conversion
d) Signal attenuation in the circuit
Answer: b

- The sampling theorem states that:
a) Sampling rate must be less than twice the highest frequency in the signal
b) Sampling rate must be greater than twice the highest frequency in the signal
c) Sampling rate must equal the highest frequency in the signal
d) Sampling rate must be independent of signal frequency
Answer: b

- What is the function of a hold circuit in a sample-and-hold device?
a) Amplify signals
b) Store the sampled signal value
c) Filter unwanted frequencies
d) Increase sampling rate
Answer: b

- What does the resolution of a DAC depend on?
a) Input voltage range
b) Number of bits in the digital input
c) Output frequency
d) Power rating
Answer: b